## Sheet2
Identify, No Treated
| 1L | Removed | [5 empty] | Version 8.0
| 2M | Restrict access
| 3H | Encapsulate
| 4A | Leave in Situ/signane
CTC ASBESTOS LOCATION: |  | RESTRICT ACCESS
REMOVED |  | LEAVE IN SITU / SIGNAGE
ENCAPSULATED |  | IDENTIFY, NOT TREATED
Open
In progress
Close
No. | DATE | PHOTO | BUILDING No. | Risk | SPECIFIC LOCATION | MATERIAL | CONDITION | ACTION PLAN | IMPLEMENTED BY | ACTION PLAN STATUS | COMMENTS
1 | 2010-09-09 | - | 1 | 1L | Old gantry crane brakes | Friction Material | Suspect Asbestos content | Encapsulate | 2008-01-01 | Close | The crane is unused so therefore represents only a low risk. Awaiting removal. Facility Manager (03/09/13): No change, is encapsulated and doesn't pose any risk. Inspected by Tony Kavanagh (10/11/14)Encapsulated,no change. FacilityManager (8/02/2017) - Inspected, no change - still in safe condition
2 | 2010-09-09 |  | 6 | 1L | West wall, internal, old 'main switch' | Fibrous lagging | Suspect Asbestos content | Removed | 2008-01-01 | Close | This has been removed as the ACM was under 10sqm, this was removed by internal staff and no clearance certificate is required.
3 | 2010-09-09 |  | 6 | 1L | South wall, internal, behind stack of polystyrene old 'switching mechanism' | Fibrous lagging | Suspect Asbestos content | Removed | - | Close | This represents a low risk as the switch is not used. Condition remains the same Facility Manager (19/11/12): Sign is in place, still in good condition - no action required. Inspected by Tony Kavanagh on 11/11/2014.Sign still in place,fully encapsulated. Low risk. Facilities Manager. Switching mechanism has been removed, less than 10sqm 9/12/14 encapsulated.
4 | 2010-09-09 | - | 6 | 1L | Gantry Crane Brakes | Friction Material | Suspect Asbestos content | Removed | - | Close | The crane is unused so therefore represents only a low risk Precinct Maintenance manager (11/11): Waiting for signage Precinct Maintenance Manager (19/11/12): Crane has now been completely removed from site.
5 | 2010-09-09 |  | 6 | 1L | Unused toilet block outside North wall, roof (and flashing) | Fibre-cement sheet | Chrysolite (White Asbestos) | Removed | 2008-01-01 | Close | Minor breakages. Unpainted on the upper surface. Both have been removed and clearances are on file. Clearance Certificate 139/09 Precinct Maintenance Manager (19/11/12): No change.
6 | 2010-09-09 |  | 7 | 1L | West wall, switch-board | Fibrous board | Chrysolite (White Asbestos) | Removed | - | Close | Condition unchanged Precinct Maintenance Manager (19/11/12); Signage now in place. No other change. Inspected on 11/11/2014.Sign is still in place, no change.Tony Kavanagh. Facilitymanager(8/02/2017)- No change - sign remains in place and material in satisfactory condition 04/1/18 FRM DB board removed by EnergyPro and new board installed. Energypro followed asbestos plan (ie suited up, washed down, used cream, doubled bagged the asbestos). Area no longer has asbestos panel
7 | 2010-09-09 | - | 9 | 1L | Male Toilet wall | Fibre-cement sheet | Chrysolite (White Asbestos) | Leave in Situ/signane | - | Close | The old asbestos containing material in the male toilets has been removed and we are awaiting advice from the tenant with regards to clearance certification. Precinct Maintenance manager (11/11): Waiting for inspection to ensure that ACM are removed. Precinct Maintenance Manager (19/11/12): Previous advice was incorrect - asbestos containing material (ACM) is still present, but is in very good condition and a sign has been put in place. Inspected by Tony Kavanagh on 11/11/2014. Still in good condition with signage. FacilityManager(8/02/2017)- Material still in good condition, sealed and signed as being ACM
8 | 2010-09-09 | - | 9 | 1L | Female Toilet wall | Fibre-cement sheet | Chrysolite (White Asbestos) | Leave in Situ/signane | - | Close | The asbestos containing material in the female toilet wall remains and the condition is unchanged. Precinct Maintenance manager (11/11): Waiting for inspection to ensure that ACM are removed. Precinct Maintenance Manager (19/11/12): No change except signage is now in place. Inspected by Tony Kavanagh on 11/11/2014,no change,signage in place.Still in good condition.
9 | 2010-09-09 |  | 10 | 1L | Main work area ceiling | Fibre-cement sheet | Chrysolite (White Asbestos) | Removed | 2008-01-01 | Close | Consultant (Feb-2007): *some breakages and penetrations. This ceiling material extends throughout building. CTC (Sep-2010): All asbestos containing material has been removed and the clearance certificate is on file. Certificate Clearance numbers OH95601F1 and 138S/09 Precinct Maintenance Manager (19/11/12): No change.
10 | 2010-09-09 | - | 10 | 1L | Small office, N-E corner of main work area, ceiling | Fibre-cement sheet | Chrysolite (White Asbestos) | Removed | 2008-01-01 | Close | Precinct Maintenance Manager (19/11/12): Still not located Clearance Certificate, but suspect it is contained in Clearance Certificate No. OH95601F1 and 138S/09 as above as it was done at the same time. FacilityManager(8/02/2017)-Replacement of all internal cladding of the open plan of BLD10 was carried out on 27 Nov 2014 after flood damage.
11 | 2010-09-09 |  | 10 | 1L | Hand-wash room, splash-back | Fibre-cement sheet | Chrysolite (White Asbestos) | Removed | 2008-01-01 | Close | Consultant (Feb-2007): Also four similar panels on South outside wall. Precinct Maintenance Manager (19/11/12): As above. FacilityManager(8/2/2017)-Replacement of all internal cladding of the open plan of BLD10 was carried out on 27 Nov 2014 after flood damage.
12 | 2010-09-09 | - | 10 | 1L | Slotted soffits, around building | Fibre-cement sheet | Chrysolite (White Asbestos) | Removed | 2008-01-01 | Close | Consultant (Feb-2007): * Breakages at N-W corner, loose pieces on ground. Precinct Maintenance Manager (19/11/12): As above. FacilityManager(8/02/2017)-replacement has taken place - now FC sheet material
13 | 2010-09-09 |  | 10 | 1L | Outside S wall, drain-trap-surround | Fibre-cement moulding | Chrysolite (White Asbestos) | Removed | 2008-01-01 | Close | Precinct Maintenance Manager (19/11/12): As above. FacilityManager(8/02/2017-inspected, in good condition - previously reported as removed - to be inspected by a third party.
14 | 2017-02-15 |  | 10 | 1L | North-East Storage Rooms behind large Easern office / Classroom | Fibre Cement sheeting | Good condition | Removed | 2018-01-01 | Close | FacilityManager(8/02/2017)-Inspected - item not commented on in previous audits - highly likely to be modern non-ACM fiberous cement - TBC - not disturbed & in good condition As per June 2017 SIMTARS report, no asbestos in this areas. Ceilings redone in Nov 2014 due to storm damage,
15 | 2020-02-24 |  | 1 | 1L | Main warehouse adjacent to double doors eastern side of Building 1 | Suspected asbestos brake lining | Good condition | Left intact | 2020-02-01 | Close | Labelled as per photo. Permission must be sought from CTC before this crane can be moved.
16 | 2020-02-24 |  | 13 | 1L | Service corridor under IBB | ACM in ground | Chrysolite (White Asbestos) | Left intact | 2020-02-01 | Watch and act | Advised to leave in situ and to lable entry as restrcied and presence of ACM (see photo). Permission must be sought from CTC to access this area.
1
6
2
7
9, 10, 11, 12, 13, 14
5
8
The Construction Training Centre
FOR-ASM-258
24/02/2020
ASBESTOS REGISTER
3, 4

## Sheet3
The Construction Training Centre | Version: 0.1
FOR- | Issue Date:
ASBESTOS REGISTER